# Technical, Entrepreneurship and Vocational Education and Training Authority (TEVETA)

## TRADE TEST LEVEL III IN ELECTRICAL ENGINEERING

(3 MONTHS)

## Record of Practical Assessment

### Learner`s name:__________________________________________

### Learner`s NRC no.:_______________________________________

### Learner`s TEVETA No.:____________________________________

### Institution Name:_________________________________________

### Institution TVA No.:_______________________________________

Assessment Period:_______________________________________

# Preface

Aim

Practical Invigilation Guidelines

Pre-Assessment

| Assessment process explained to the Trainee ( if Yes). |  |
| --- | --- |
| Any appeal relating to the outcome of the assessment or the way in which the assessment was conducted shall be made through the TEVETA fair treatment policy as explained to the Trainee ( if Yes). |  |

| Learner/Trainee Learner/Trainee name: (Print) Learner/Trainee comments: | Assessor/Examiner Assessor/Examiner name: (Print) Assessor/Examiner comments: |  |
| --- | --- | --- |
| I fully understand the assessment and appeals process. | Theory assessment sighted and checked as satisfactory. |  |
| Signature: Date: | Signature: Date: |  |

# Contents

Contents	4

Task 1: APPLICATION OF SAFETY MEASURES,	6

Task 2: APPLICATION OF FASTENNING METHODS	7

Task 3: IDENTIFICATION OF HAND TOOLS	9

Task 4: IDENTIFICATION OF MEASURING INSTRUMENTS AND MARKING TOOLS	10

Task 5: IDENTIFICATION OF DOMESTIC WIRING ACCESSORIES………………………  11

Task 6: INTERPRETING DOMESTIC ELECTRICAL DRAWING SYMBOLS	14

Task 7: CARRING OUT CONDUIT WORK	15

Task 8: MOUNTING OF THE ELECTRICAL METERBOX	18

Task 9: MOUNTING OF THE DISTRIBUTION BOX	19

Task 10: INSTALLATION OF LIGHTING CIRCUIT	19

Task 11: INSTALLATION OF SOCKET OUTLET	22

Task 12: INSTALLATION OF GEYSER AND COOKER CONTROL UNITS	29

Task 13: EARTHING OF INSTALLATION……………………………………………………………34

FINAL PRACTICAL ASSESSMENT SUMMARY	54

ASSESSMENT OUTCOME	57

Task 1: APPLICATION SAFETY MEASURES

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Safety precautions to be observed and this should include: - Carrying sharp edged tools - Storage of tools/materials - Use correct tools - Keeping the environment clean - Put on dust coat or work suit - Put on safety boots - Roll up your sleeves - Maintain short hair cut - Hanging tie, bungles and wrist watches not allowed |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

Task 2: APPLICATION FASTENING METHODS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Apply fastening methods and this should include: - Soldering of married joints - Welding of T-joints - Cramping of tail joints - Bolting of joints |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:…………………………………………………

Task 2: materials specifications

- Soldering wire

- soldering powder

- welding rods

- bolts

- nuts

- cables

Task 2: Tools specifications

- welding machine

- climping tool

- pliers

- cutter

- spanner

- adjustable spanner

- hammer

Task 3: IDENTIFICATION OF HAND TOOLS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Identify hand tools and this should include - Screwdriver - Hand files - Pliers - Types of chisels - Hammers - Snipes - Fischer wire - Hacksaws - Stripping - Conduit benders - Cramping tools |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

Task 4: IDENTIFICATION OF MEASURING INSTRUMENTS AND MARKING TOOLS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | Identify measuring instruments and marking tools and this should include - Spirit level - Measuring tape - Wire gauge - Scriber - Steel rule - Center punch - Compass - Caliper - Micrometer screw gauge - Megger - Multi-meter |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

Task 5: IDENTIFICATION OF DOMESTIC WIRING ACCESSORIES COMPONENTS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | Identify domestic wiring accessories and this should include - Switches (1G1W, 1G2W, 2G2W, 2G1W, 3G1W, intermediate switch, pull switch, dimmer switch) - Socket outlets (single and Double) - Cooker control unit (3 x 6’’, 6 x 6’’) - Geyser switch - Cooker control unit (3 x 6’’, 6 x 6’’) - Geyser switch - Lamps (Pin type, Screw type, Fluorescent tube, Sodium vapour lamp, Mercury vapour lamp) - Protective devices (fuse and circuit breaker) - Supply mains intake position - Signalling devices (Siren, Bell) - Layout diagram or site plan read correctly - Material required estimated correctly according to the electrical site plan. |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

BASIC DOMESTIC SCHEMATIC (INSTALLATION) SYMBOLS

Task 6: IDENTIFICATION OF DOMESTIC WIRING ACCESSORIES SYMBOLS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Identify domestic wiring accessories and this should include - Switches (1G1W, 1G2W, 2G2W, 2G1W, 3G1W, intermediate switch, pull switch, dimmer switch) - Socket outlets (single and Double) - Cooker control unit (3 x 6’’, 6 x 6’’) - Geyser switch - Cooker control unit (3 x 6’’, 6 x 6’’) - Geyser switch - Lamps (Pin type, Screw type, Fluorescent tube, Sodium vapour lamp, Mercury vapour lamp) - Protective devices (fuse and circuit breaker) - Supply mains intake position - Signalling devices (Siren, Bell) - Layout diagram or site plan read correctly - Material required estimated correctly according to the electrical site plan. |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

Task 7: INTERPRETING DOMESTIC ELECTRICAL DRAWING SYMBOLS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | Interpret domestic electrical drawing symbols and this should include : - Switches (1G1W, 1G2W, 2G2W, 2G1W, 3G1W, intermediate switch, pull switch, dimmer switch) - Socket outlets (single and Double) - Cooker control unit (3 x 6’’, 6 x 6’’) - Geyser switch - Cooker control unit (3 x 6’’, 6 x 6’’) - Geyser switch - Lamps (Pin type, Screw type, Fluorescent tube, Sodium vapour lamp, Mercury vapour lamp) - Protective devices (fuse and circuit breaker) - Supply mains intake position - Signalling devices (Siren, Bell) - Layout diagram or site plan read correctly - Material required estimated correctly according to the electrical site plan. |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

Task 8: CARRYING OUT CONDUIT WORKS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Carry out conduit works and this should include: - Install and terminate conduit pipes correctly using couplings, female and male bushes - Make 90o bends without kinks - Make offsets, bushes and couplings - Fix saddles - Prepare the wall for installation of conduit pipes - Wall chiselled - Wall plugs installed - Use of Grinding machine - Use of Drilling machine - Use Spirit level for positioning - Plaster wall according to the required standard |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TASK 9: MATERIALS

- 20mm2PVC conduit pipe

- 20mm2 PVC male and female bushes

- Saddles

- Round looping boxes

- 90o bend PVC

- Plugs

- Drilling machine

- Spirit level

- Chisel

- Hammer

- tape

Task 9: MOUNTING OF THE ELECTRICAL METER BOX

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Mount an electrical meter box - Install the meter box to the required specification and this should include - Energy meter - 60A MCB - Lightning arrester - Install earthing and this should include - Earth pit - Earth rod - charcoal - salt |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TASK 10: MATERIALS

- 1 X 5A MCB

- 1 X OVERLOAD RELAY

- Energy meter

- 60A MCB

- Lightning arrester

- Earth rod

- charcoal

Task 10: MOUNTING OF THE DISTRIBUTION BOX

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | Mount a distribution box and this should include: - meter box - distribution box - 60A MCB mains - 30A MCB cooker - 30A MCB gyser - 15A MCB socket outlets - 5A MCB lighting - Neutral block - Earth block |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TASK 10: MATERIAL SPECIFICATIONS

- 1 x 60A MCB

- 2 x 30A MCB

- 1 x 15A MCB

- 1 x 5A MCB

- 1 X Neutral block

- 1 x Earth block

WIRING OF METER BOX AND DISTRIBUTION BOX

Task 11: INSTALLATION OF LIGHTING CIRCUITS

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Install a one way lighting circuit according to layout and wiring diagram and this should include - Correct cable size used - Correct MCB rating used - Correct switch - Lamp holder - Bulb - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test |  |  |  |  |  |  |
|  | - Install a two way lighting circuit according to layout and wiring diagram and this should include - Correct cable size used - Correct MCB rating used - Two 2-way switches - Lamp holder - Bulb - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test |  |  |  |  |  |  |
|  | - Install an intermediate lighting circuit according to layout and wiring diagram and this should include - Correct cable size used - Correct MCB rating used - Two 2-way switches - Intermediate switch - Lamp holder - Bulb - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TASK11A: MATERIAL SPECIFICATIONS:

- 1x5A MCB

- 1.5mm2 red and black

- 1x1G1W switch

- 1xLamp

- ONE WAY LIGHTING CIRCUIT

WIRING DIAGRAM

TASK11b: MATERIAL SPECIFICATIONS:

- 1x5A MCB

- 1.5mm2 red and black

- 1x1G2W switch

- 1xLamp

TWO WAY LIGHTING CIRCUIT

WIRING DIAGRAM

TASK 11 C: MATERIAL LIST:

- 1x5A MCB

- 1.5mm2 red and black

- 2x1G2W switch

- Intermediate switch

- 1xLamp

- multimeter

INTERMEDIATE CIRCUIT

WIRING DIAGRAM

Task 12: INSTALLATION OF SOCKET OUTLET CIRCUIT

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Install radial socket outlets circuit according to layout and wiring diagram and this should include: - Correct cable size used - Correct MCB rating used - Correct socket outlets - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test |  |  |  |  |  |  |
|  | - Install ring socket outlets circuit correctly according to layout and wiring diagram and this should include: - Correct cable size used - Correct MCB rating used - Socket outlets |  |  |  |  |  |  |
|  | (c)Carry out tests and this should include - polarity - continuity - insulation resistance |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TASK12A: MATERIAL SPECIFICATIONS::

- 1x15A MCB

- 2.5mm2 red, black and green

- Socket outlets

- multimeter

- RADIAL SOCKET OUTLET CIRCUIT

WIRING DIAGRAM

TASK12b: MATERIAL LIST:

- 1x15A MCB

- 2.5mm2 red, black and green

- Socket outlets

- multimeter

- RING SOCKET OUTLET CIRCUIT

LAYOUT DIAGRAM

WIRING DIAGRAM

Task 13: INSTALLATION OF GEYSER AND COOKER CONTROL UNIT CIRCUIT

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Install geyser circuit according to layout and wiring diagram and this should include - Correct cable size used - Correct MCB rating used - Geyser switch - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test |  |  |  |  |  |  |
|  | b) Install cooker control unit circuit according to layout and wiring diagram and this should include - Correct cable size used - Correct MCB rating used - Cooker control unit |  |  |  |  |  |  |
|  | (c) Carry out tests and this should include - polarity - continuity - insulation resistance |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

Task 14: INSTALLATION OF GEYSER AND COOKER CONTROL UNIT CIRCUIT

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | Install geyser circuit correctly according to layout and wiring diagram and this should include - Correct cable size used - Correct MCB rating used - Geyser switch - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test Install cooker control unit circuit according to layout and wiring diagram - Correct cable size used - Correct MCB rating used - Cooker control unit - Carry out polarity test - Carry out continuity test - Carry out insulation resistance test |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TASK14A: MATERIAL LIST:

- 1x30A MCB

- 4mm2 red, black and green

- geyser

- multimeter

- GEYSER CIRCUIT

TASK 14b: MATERIAL SPECIFICATION:

- 1x45A MCB

- 4mm2 red, black and green

- Cooker control unit

- Multimeter

- COOKER CONTROL UNIT CIRCUIT

TASK14c: MATERIAL SPECIFICATIONS:

- 1x60A MCB

- 2x30A MCB

- 5A MCB

- 2x1G2W

- 1xcooker control unit

- 3xsocket outlet

- Lamps

- 1xneutral block

- 1xearth block

- 1.5mm2 red and black

- 2.5mm2 red, black and green

- 4mm2 red, black and green

- Multi-meter

(C) PRACTICAL INCORPORATING THE WIRING OF LIGHTING, SOCKET OUTLETS AND COOKER CONTROL UNIT

LAYOUT DIAGRAM

CIRCUIT DIAGRAM

Task 15: EARTHING OF INSTALLATION

| No | Activity | Satisfactory |  |  | Not satisfactory |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Attempts |  |  | Attempts |  |  |
| During observation of work activities, the candidate demonstrated that they can: |  | 1st | 2nd | 3rd | 1st | 2nd | 3rd |
|  | - Install earthing correctly and this should include - Digging earth pit - Identifying and applying the earth electrode (rod, plate or mat, tape or strip) - Putting alternate layers of charcoal and salt correctly - Using correct cable size |  |  |  |  |  |  |
|  | - Earthing method carried out according to layout and wiring diagram and this should include - Correct cable size used - T.T earthing - TNC-S or protective or multiple earthing (PME) |  |  |  |  |  |  |
|  | (c) Carry out tests and this should include - polarity test - continuity test - insulation resistance test |  |  |  |  |  |  |

Examiner`s comments:

|  | Examiner Name:…………………………. Signed:…………………………………….. | Learner`s Name:………………………….. Signed:……………………………………… |
| --- | --- | --- |

Date:…………………………………………………    Date:………………………………………………….

TT SYSTEM

TN-C-S SYSTEM OR PROTECTIVE MULTIPLE EARTHING (PME)

.

# FINAL PRACTICAL ASSESSMENT SUMMARY

| Practical assessment summary |  | Satisfactory | Not Satisfactory |
| --- | --- | --- | --- |
|  | APPLICATION OF SAFETY MEASURES |  |  |
|  | APPLICATION OF FASTENNING METHODS |  |  |
|  | IDENTIFICATION OF HAND TOOLS |  |  |
|  | IDENTIFICATION OF MEASURING INSTRUMENTS AND MARKING TOOLS |  |  |
|  | IDENTIFICATION OF DOMESTIC WIRING ACCESSORIES |  |  |
|  | INTERPRETING DOMESTIC EKECTRICAL SYMBOLS |  |  |
|  | CARRING OUT CONDUIT WORKS |  |  |
|  | MOUNTING OF THE ELECTRICAL METER BOX |  |  |
|  | MOUNTING OF THE DISTRIBUTION BOX |  |  |
|  | INSTALLATION OF LIGHTING CIR UITS |  |  |
|  | INSTALLATION OF SOCKET OUTLET CIRCUITS |  |  |
|  | INSTALLATION OF GEYSER AND COOKER CONTROL UNIT |  |  |
|  | EARTHING OF INSTALLATION |  |  |
|  | INTERPRETING BASIC INDUSTRIAL CONTROL AND POWER CIRCUIT SYMBOLS |  |  |
|  | DESIGNING BASIC INDUSTIAL POWER CIRCUITS |  |  |
|  | INSPECTION OF INDUSTRIAL CONTROL AND POWER CIRCUITS |  |  |
|  | TESTING OF INDUSTRIAL CONTROL AND POWER CIRCUITS |  |  |
|  | INSTALLATION OF DIRECT ON LINE CIRCUIT |  |  |
|  | INSTALLATION OF A DIRECT ON LINE LOCAL AND REMOTE CIRCUIT |  |  |
|  | INSTALLATION OF A DIRECT ONLINE JOGGING/INCHING CIRCUIT |  |  |
|  | INSTALLATION OF A DOOR BELL RING CIRCUIT |  |  |
|  | INSTALLATION OF A STAR-DELTA SEMI AUTOMATIC CONTROL AND POWER CIRCUIT |  |  |
|  | MAINTAINING INDUCTION MOTORS |  |  |
|  | INSTALLING A STAR-DELTA LOCAL AND REMOTE CIRCUIT |  |  |
|  | INSTALLING A STAR-DELTA FORWARD AND REVERSE CONTROL AND POWER CIRCUIT |  |  |
|  | INSTALLATION OF A SEMI AUTOMATIC CONTROL AND POWER CIRCUIT |  |  |
|  | INSTALLTION OF A SEQUENTIAL CONTROL AND POWER CIRCUIT |  |  |
|  | INSTALLATION OF A TRAFFIC LIGHT CONTROL CIRCUIT |  |  |
|  | MAINTAINING A DC MACHINE |  |  |
|  | MAINTAINIG A SYNCHRONOUS MACHINE |  |  |

Assessor/Examiners comments:

# ASSESSMENT OUTCOME

Competent

Not Competent

| Learner/Trainee | Assessor/Examiner |
| --- | --- |
| Learner/Trainee name: (Print) | Assessor/Examiner name: (Print) |
| Learner/Trainee comments: | Assessor/Examiner comments: |
| Signature: Date: | Signature: Date: |